## Bill Of Materials
Priced Bill of Materials
VAT Rate | 23% |  | Note | Prices are estimates for assignment planning and should be replaced with supplier quotes before purchase.
Category | Item | Quantity | Unit Price (€) | Total Before VAT (€) | VAT (€) | Total After VAT (€) | Notes / Source
Server Cabinets & Cooling | 42U Server Rack Cabinet | 1 | 1399 | 1399 | 321.77 | 1720.77 | Rack to house the private cloud equipment
Server Cabinets & Cooling | 1U Cable Management / Blanking Panels | 8 | 35 | 280 | 64.4 | 344.4 | Cable tidies and airflow blanking panels
Power Distribution | 16A 230V Rack PDU | 2 | 89 | 178 | 40.94 | 218.94 | PDU A and PDU B for redundant power
Power Distribution | UPS / Power Protection Unit | 1 | 1299 | 1299 | 298.77 | 1597.77 | Power protection for rack equipment
Servers | Dell PowerEdge R670 Host Server | 2 | 60000 | 120000 | 27600 | 147600 | Dual CPU, 512GB RDIMM, RAID/boot storage and base configuration estimate
Servers | Additional 25Gb SFP28 Network Adapter | 2 | 1500 | 3000 | 690 | 3690 | Additional NIC capacity for VM trunk and storage networks
Servers | 3.84TB SAS / Enterprise SSD Drives | 8 | 500 | 4000 | 920 | 4920 | Data storage drives; RAID reduces usable capacity
Servers | Hardware RAID Controller | 2 | 800 | 1600 | 368 | 1968 | Dedicated RAID controller per host
Networking Equipment | Top-of-Rack Switch – VM/Storage Network | 2 | 1680 | 3360 | 772.8 | 4132.8 | Redundant switching for trunked VM and storage traffic
Networking Equipment | Management Switch – 48 Port Gigabit | 1 | 619.13 | 619.13 | 142.3999 | 761.5299 | Management and iDRAC/BMC connections
Cabling & Accessories | C14 Power Cables | 6 | 15 | 90 | 20.7 | 110.7 | Server, KVM and UPS/PDU equipment cabling
Cabling & Accessories | C15 Power Cables | 6 | 18 | 108 | 24.84 | 132.84 | Switch/PDU cabling
Cabling & Accessories | RJ45 CAT6 Cables | 48 | 5 | 240 | 55.2 | 295.2 | Management and iDRAC cabling
Cabling & Accessories | SFP28 DAC / Fibre Cables | 8 | 65 | 520 | 119.6 | 639.6 | High-speed server-to-switch links
Cabling & Accessories | KVM Monitor & Keyboard Drawer | 1 | 450 | 450 | 103.5 | 553.5 | Local access for installation/maintenance
Software Licences | Windows Server 2025 Datacenter Licence | 2 | 6000 | 12000 | 2760 | 14760 | Estimate only; final cost depends on core licensing calculator
Software Licences | Additional Core Licences / CAL Allowance | 1 | 2500 | 2500 | 575 | 3075 | Allowance for core/CAL licensing checks
Labour Costs | Rack Installation and Cabling (hours) | 16 | 65 | 1040 | 239.2 | 1279.2 | Physical rack install, cable management and labelling
Labour Costs | Server Configuration (hours) | 12 | 75 | 900 | 207 | 1107 | RAID, firmware, BIOS/iDRAC and base host configuration
Labour Costs | Network Configuration (hours) | 8 | 75 | 600 | 138 | 738 | VLANs, trunk links, management links and testing
Labour Costs | Testing and Documentation (hours) | 6 | 65 | 390 | 89.7 | 479.7 | Handover testing and final documentation
Totals | Equipment & Labour before VAT |  |  | 154573.13
Totals | VAT at 23% |  |  |  | 35551.8199
Totals | Equipment & Labour after VAT |  |  |  |  | 190124.9499
Note on B2: VAT rate set to Irish standard 23%; update if assignment uses different rate.
Note on D5: Estimated unit price. Replace with current supplier quote if available.
Note on D6: Estimated unit price. Replace with current supplier quote if available.
Note on D7: Estimated unit price. Replace with current supplier quote if available.
Note on D8: Estimated unit price. Replace with current supplier quote if available.
Note on D10: Estimated unit price. Replace with current supplier quote if available.
Note on D11: Estimated unit price. Replace with current supplier quote if available.
Note on D12: Estimated unit price. Replace with current supplier quote if available.
Note on D13: Estimated unit price. Replace with current supplier quote if available.
Note on D15: Estimated unit price. Replace with current supplier quote if available.
Note on D16: Estimated unit price. Replace with current supplier quote if available.
Note on D18: Estimated unit price. Replace with current supplier quote if available.
Note on D19: Estimated unit price. Replace with current supplier quote if available.
Note on D20: Estimated unit price. Replace with current supplier quote if available.
Note on D21: Estimated unit price. Replace with current supplier quote if available.
Note on D22: Estimated unit price. Replace with current supplier quote if available.
Note on D24: Estimated unit price. Replace with current supplier quote if available.
Note on D25: Estimated unit price. Replace with current supplier quote if available.
Note on D27: Estimated unit price. Replace with current supplier quote if available.
Note on D28: Estimated unit price. Replace with current supplier quote if available.
Note on D29: Estimated unit price. Replace with current supplier quote if available.
Note on D30: Estimated unit price. Replace with current supplier quote if available.